MALAYSIA PRODUCTIVITY CORPORATION (MPC)

APPLICATION FOR BOARD OF MANAGEMENT APPROVAL
EXECUTIVE SUMMARY

	TITLE


	:
	LONG TERM COST SAVING SOLAR PANEL IMPLEMENTATION IN MPC HEADQUARTER, NRO, SRO & SKO THROUGH NEM 3.0 SCHEME 

	DUARATION OF IMPLEMENTATION
	:
	          Feb – Julai 2022 

	PURPOSE & BACKGROUND
	:
	1.0 This proposal is prepared to get approval from Board of Management for solar Panel Implementation at MPC through NEM 3.0 Scheme.
2.0 To continue to encourage the uptake of the Malaysia’s Renewable Energy (RE), the Ministry of Energy and Natural Resources (KeTSA) has announced the new NEM3.0 scheme in December 2020 to replace the previous NEM 2.0. The NEM3.0 comprises of three initiatives as below:
· Program NEM Rakyat (Domestic)
· Program NEM GoMEn (Government Ministries and Entities)

· Program NOVA (Commercial & Industrial)

3.0 This scheme is regulated by the Energy Commission (EC), with Sustainable Energy Development Authority (SEDA) Malaysia as the implementing agency. Unlike the previous NEM 2.0 where every kilowatt-hour (kWh) of excess energy was offset from energy bills at a “one-to-one” basis, the NEM 3.0 has a quota of 500MW that is available from 2021 till 2023.

4.0 NEM GoMEn (Government Ministries and Entities) Program Aimed at
      reducing government building’s energy bills through the use of a solar
      PV system. The energy offset ratio is at 1:1. Roll-over period is for 12
      months. The maximum solar PV system size allowed is 1MWac per
      account. The NEM GoMEn Program has an allocated quota of 100MW
      and starts 1 February 2021 with a 10-year contract term for successful
      applicants.
5.0 In order to initiate the NEM 3.0 project in MPC, Gading Kencana Sdn

      Bhd, by Dato’ (Dr) Ir. Guntor Tobeng had prepared a proposal to

      assist MPC achieving the needs. In the proposal stated, instead of

      MPC to provide capital upfront, Gading Kencana propose to sign a
      tripartite agreement between MPC, TNB and GKSB called SARE
    (Supplemental Agreement with Renewable Energy) which allow MPC to

     purchase electricity at a lower rate of RM0.35/kWh compared to the

     current TNB Tariff (higher tier) of RM0.5090/kWh. This arrangement

     will generate annual saving to MPC by RM30,000 or around 

     RM 713,000 for the next 21 years. Therefore, MPC need only to

     pay monthly basis electricity usage to Gading Kencana and no upfront

     needed. Details of the Gading Kencana Proposal is as attached
     (Gading Kencana Sdn Bhd propose Solar PV installation for MPC

     offices & Gading Kencana Sdn Bhd Slide presentation)


	OBJECTIVES
	:
	1. Decrease in Overhead Expenses

Going solar for MPC can translate into the biggest benefit of reducing overhead costs. This is because MPC probably need power to run everything from fans and lights to computers and other machines or electrical tools. Now, by going solar, MPC will be able to depend less on the grid and fluctuating power tariffs. MPC won’t be affected by the changing costs of non-renewable fossil fuels too. Depending on the number of solar panels MPC choose to use or by how much MPC wish to replace its grid’s supply, MPC can cut overhead costs significantly. Also, as MPC will be generating its own power, MPC will be in control of the costs. This will give more peace of mind.
2. Reliable Power Supply

Investing in solar energy means MPC will always get a reliable and steady supply, no matter what the grid supply is. Since our country receives ample sunlight for most part of the year, MPC panels can capture sufficient solar energy for converting to electricity. MPC can store the electricity generated in batteries (off-grid systems) or share the excess electricity to earn credit via “net metering” policy at the end of the year (grid-connected solutions). Either way going solar will ensure that productivity is not affected due to poor and erratic power supply.
3. Ease of Maintenance 

This is another good reason why it makes sense to invest in solar for companies. Solar panels manufactured by experienced and well-known brands are extremely efficient and are essentially a one-time investment. They are made of the best material available and last for years, in fact 25 years, if MPC choose wisely. Just make sure that MPC get the panels installed by experts who will assess MPC power needs, installation area available and budget before going ahead with the process. Reputed manufacturers also quality-check these panels stringently and in-house before releasing them in the market. Especially, if MPC solar energy system involves no batteries, MPC will need to provide minimal maintenance. 
4. Long-term Savings

Investing in solar energy means saving in the long run, which any business aims at, to become more profitable. The returns on MPC investment keep increasing with every passing year. Since the maintenance cost is minimal as well, MPC gets to set aside more savings to ensure a positive cash flow. This is especially helpful during a crisis or when you need urgent funds to tide overran emergency situation. Ample long-term savings can also make MPC less dependent on loans. 
5. Eco-friendly and Good for CSR

By investing in solar energy, MPC business can become more eco-friendly and cause less pollution that is otherwise generated by fossil fuels. MC can make the planet a better place for the future generations, reduce carbon footprint, and also meet Corporate Social Responsibility (CSR) goals better. This will earn special recognition as a “green” business and make MPC more attractive to clients, partners and stakeholders. 



	COST 


	:
	Cost to explore NEM GoMEn
 And site visits:

No.

Item

Rate 

Cost

1.

Travelling cost for 1 officer for NRO, SRO & SKO offices
RM1,000 x 3

RM3,000

2.

Meeting package on site visit/discussion with Gading Kencana Sdn Bhd (Service Providers) (NRO, SRO & SKO)

RM31 x 5 x 4
RM620
3.

Accommodation for 1 officer per night

RM250 x 3

RM750

Total

RM4,370
Cost to pay Service Provider (Gading Kencana Sdn Bhd):

No upfront needed. MPC need only to pay monthly basis electrical usage at RM 0.35/ kWh for 21 years to Gading Kencana Sdn Bhd

.

	IMPLEMENTATION OF MECHANISM
	
	IMPLEMENTATION OF THE MECHANISM OF NET ENERGY METERING 3.0. 

Key points of the scheme summarized in the table below:

Source: Ministry of Energy and natural Resource (KeTSA)

Subject

 

NEM 3.0

 

 

NEM RAKYAT

NEM  GoMEn

NOVA

 

Domestic

Government Buildings

Comercial & Industrial

Quota (MW)

100

100

300

Mechanism (Rollover)

NEM 1:1 (12  months)

NEM 1:1 (12 months)

SELCO+ ( 1 month)

Date of Quota Commencement

1st of February 2021

1st of February 2021

1st of April 2021

Duration

 

3 years

 

Offset Rate

Current Tariff

Current Tariff

System Marginal Price

Offset Duration

 

10 years

 

Setting After 10 years

 

Self-Consumption (SELCO)

 

System Capacity

Single Phase : 4kWac

1 MWac / 1 Account

Nett Offset : 1MWac

 

Three Phase : 10kWac

 

Net  Offset + Virtual Aggregation : 5MWac

Eligibility Criteria

Domestic Account Holder

Government Body/Agency

Non-Domestic Account Holder

· MPC can explore the option offered by KeTSA on implementing solar panel using NEW GoMEn incentive. To understand further this incentive, ADM/MSF would like to invite Gading Kencana Sdn Bhd to visit MPC Headquarter, NRO, SRO and SKO to advise and to present to MPC Board of Management.

· MPC need to sign a tripartite agreement between MPC, TNB and GKSB called SARE (Supplemental Agreement with Renewable Energy) which allow MPC to purchase electricity at a lower rate of RM0.35/kWh compared to the current TNB Tariff (higher tier) of RM0.5090/kWh.


	BUDGET
	:
	MSF OPERATIONAL BUDGETS 2022

	UNIT/BAHAGIAN
	:
	ADM / MSF

	RECOMMENDATION
	:
	Consideration and approval from Board of Management is required to allow ADM/MSF to implement of SOLAR PV System Installation through NEM 3.0 (NEM GoMEn) scheme at MPC Headquarters and Regional Complexes using Gading Kencana Sdn Bhd as service provider for long term cost savings on MPC electricity bills.


	PREPARED BY:
	VERIFIED BY:

	
	

	MOHD WAFI ARIP
	MOHD YAZID ABDUL MAJID

	ASSISTANT MANAGER 
	DIRECTOR 

	ADM / MSF
	MSF


